Jan/06
John Bordin
Questions: just ask!
Service Processor based management

---
Service Processors – what they are
Service Processors (SPs) ?
Additional HW and SW used for Out-Of-Band management of the main server. They are also known as Baseboard Management Controllers (BMCs)
The main external interface is Ethernet (TCP/IP).
They come in different shapes, most commonly:
embedded processor
daughter card of the main board
fully separate PCI card.

---
Service Processors (SPs) – what they look like

---
Blade Management Modules

---
SPs – provide access to ...
the processor running on the main server – usually redirected serial console or GUI interface ( KVM over IP)
power control (for power off/on/cycle) and SW reset
sensor information (temperature, fans, current, etc) and alarms
system event log
BIOS configuration, POST and boot messages
virtual media
SNMP (agents and traps in the SP itself or pass through to the main server)

---
Service Processors – protocols and models
Service Processors – different models
HP iLO (integrated Lights-Out – updated and embedded version of HP RILOe - Remote Insight Lights-Out Edition)
IBM RSA-II and RSA-I (Remote Supervisor Adapter)
IPMI (Intelligent Platform Management Interface – supported by HP, IBM, Dell, Sun, etc – more than 150 companies)
(Intel AMT (Active Management Technology) for servers and desktops)
Sun ALOM (Advanced Lights Out Manager - an updated version of RSC – Remote System Controller)
Dell DRAC (Dell Remote Access Controller) I, II, III and IV
Blade Management Modules
Devices that have an additional Ethernet interface designed for management

---
Service Processors - how to communicate with them
Service Processors - how to communicate with them
Physical level: Ethernet. Some Service Processors also support RS232 serial/modem connections (as fail over or for historical reasons)
Protocol: TCP/IP..
Command line interface:
  - telnet
  - SSH
  - Client / Server and networking SW that implements IPMI protocol (many proprietary implementations plus Open Source - OpenIPMI, freeIPMI, impitool, ipmiutil, etc)
  - SMASH / CLP (DMTF's Systems Management Architecture for Server Hardware / Command Line Protocol)
Web browser (HTTP / HTTPS)
Proprietary SW
  - HP insight Manager
  - IBM Director
  - Dell OpenManage
Java applets (KVM access to the main server CPU)
SNMP related tools

---
Summary of Service Processor Features

---
Other options that achieve similar functionality to Service Processors
The competing options
Console Servers (server management through RS232 serial port)
KVM over IP switches
intelligent power strips
KVM over IP server card

---
Deploying Service Processor based Management – problems and challenges
Deploying Service Processor based Management – problems and challenges
Difficult to scale
Separation / duplication of Out-Of-Band (management) and Production networks
(extra Ethernet connection per server, management of extra IP addresses)
Low security (in some cases) and little authentication options (in most cases)
Multiple non-standard protocols and different ways of interfacing
Lack of centralized Logging and Auditing

---
Service Processors- Road Map
Road Map
From Vendors:
  - Web interface, KVM to the main server are becoming standard features
  - Adding value with proprietary applications
Efforts in standardization:
  - HW/SW of the Service Processor:
    - Intel IPMI
    - AMD OPMA (Open Platform Management Architecture)
  - Communication:
    - Command line interface (DMTF CIM SMASH CLP)
    - GUI / multiple format interface (DMTF CIM XML / Web Services)

---
Deploying Service Processor based Management - wish list
Deploying Service Processor based Management - wish list
Improvements on the scalability
Consolidation of simple tasks (e.g. power cycle) in a uniform manner across SP from different vendors => easier scripting
Access to the rich functionality, if available
Avoid doubling the infrastructure (double number of Ethernet ports and IP address management)
Increased security
  - SSH
  - HTTPS
  - flexible authentication that integrates easily with what is already in place (RADIUS, LDAP, etc)
Conformance to open standards (DMTF CIM and SMASH / CLP)
Support from the Open Source community

---
Deploying Service Processor based Management – advantages and potential
Deploying Service Processor Management – Conclusion: advantages and potential
As the discussed problems (scalability, consolidation, security, etc) get overcome, SPs have the potential to become the most commonly used Out-Of-Band management interface. It could be deployed alongside with (and in some cases replace) KVM Switches and cards, Console Servers, intelligent power strips, etc, with extras including sensor information and alarm, logging, SNMP.

---
References
References
Cyclades Technical Booklet Series:
Service Processors for Server Management, by Tom Wingfield (soon to become available)
google for:
  - hp ilo
  - ibm rsa-ii
  - ipmi
  - sun alom
  - dell drac
http://www.dmtf.org/standards/smash/
http://www.dmtf.org/standards/cim/

---
References
Other presentations about DMTF CIM and SMASH/CLP at linux.conf.au:
Part of the SysAdmin Miniconf:
System Monitoring with WBEM
Tim Potter
Monday: 15:00
SBLIM: creating a set of providers from scratch
Rodrigo Ceron Ferreira de Castro
Location: Burns 7
Friday: 10:55am to 11:45am

---
System Administrators Associations
SAGE-AU - http://www.sage-au.org.au/
LOPSA - http://lopsa.org/

---
Questions ?
[Speaker Notes: And that’s why we can help you build the foundation for next generation IT infrastructure management. No matter how small or big you are. That’s what an OOBI is about.]