Cost-Effective Virtual Petabytes
Storage Pools
using MARS
LCA 2018 Presentation by Thomas Schöbel-Theuer

---
Agenda
Virtual Petabytes Storage Pools: Agenda
- Storage Architectures → Scalability && Costs
- HOWTO Background Migration of LVs
  e.g. for load balancing, HW lifecycle, etc
- Use Cases for Storage Architectures
- Reliability of Storage Architectures
- Flexible MARS Sharding + Cluster-on-Demand
- Current Status / Future Plans

---
Badly Scaling Architecture: Big Cluster
Data already partititioned + isolation needed
...
Internet O(n*k)
...
O(n2) REALTIME Access
Internal Storage (or FS) Network
like cross-bar
...
User 999999
User 14
User 13
User 12
User 11
User 10
User 9
User 8
User 7
User 6
User 5
User 4
User 3
User 2
User 1
Frontend 999
Frontend 6
Frontend 5
Frontend 4
Frontend 3
Frontend 2
Frontend 1
x 2 for geo-redundancy
Storage 999
Storage 6
Storage 5
Storage 4
Storage 3
Storage 2
Storage 1

---
Well-Scaling Architecture: Sharding
...
Internet O(n*k)
...
++ local scalability: spare RAID slots, ...
Smaller Replication Network for Batch Migration O(n)
+++ traffic shaping possible
=> method really scales to petabytes
User 999999
User 14
User 13
User 12
User 11
User 10
User 9
User 8
User 7
User 6
User 5
User 4
User 3
User 2
User 1
x 2 for geo-redundancy
Storage + Frontend 999
Storage + Frontend 6
Storage + Frontend 5
Storage + Frontend 4
Storage + Frontend 3
Storage + Frontend 2
Storage + Frontend 1
+++ big scale out +++
cost savings!

---
HOWTO Background Migration of LVs
→
HOST A (old) VM is running
HOST B (new) has spare space
  - lvdisplay /dev/vg/$mydata
  - (meanwhile VM is altering data)
  - $vmmanager stop /dev/mars/$mydata
  - marsadm leave-resource $mydata
  - lvremove $mydata
  - lvcreate -L $size $mydata
  - marsadm join-resource $mydata \
            /dev/vg/$mydata
  - marsadm view: wait for UpToDate
  - marsadm primary $mydata
  - $vmmanger start /dev/mars/$mydata
=> also works with 2 old replicas → 2 new replicas
Example: tetris.sh in github.com/schoebel/mars/contrib/

---
Guidelines: Use Cases
Big Cluster
Sharding on top of RAID
  - Objects with non-meaningful keys
  - No logical dependencies between objects → failures should not propagate
  - No data partitioning possible
  - Legal requirements (know where the data is)
  - Data is already partitioned
  - Structured keys (pathnames)
  - Recursively structured data with in-place updates, e.g. Block Devices, VMs, …
  - POSIX-complicant FS needed
  Filesystems on top of spreaded unreliable objects
  Block devices on top of spreaded unreliable objects
Beware
Grey Zones
  - when artificial partitioning is possible…
  - when data is highly volatile

---
Reliability of Architectures: NODE failures
2 Node failure => ALL their disks are unreachable
DRBD or MARS
simple pairs
Big Storage Cluster
e.g. Ceph, Swift, ...
...
...
same n
O(n2) network
...
...
k=2 replicas not enough
 => INCIDENT because objects are randomly
distributed across whole cluster
=> no customer-visible incident
Low probability for hitting the same pair,
even then: only 1 shard affected
=> low total downtime
Higher probability for hitting any 2 nodes,
then O(n) clients affected
=> much higher total downtime
need k >= 3 replicas here

---
Costs: Geo-Redundancy even Cheaper
a1
a1
a1
a2
a2
a2
Precondition:
CPU must not be the bottleneck
Datacenter 1
b1’
c2’
Idea: passive LV roles get less CPU
1 datacenter
out of 3
may fail
c1
c2
b1
b2
Datacenter 3
Datacenter 2
a2’
Total Storage: x 2
Total CPU: x 1.5
=> 1.5 • O(n)
b2’
a1’
c1’
HOWTO flexible CPU assignment => next slide

---
Flexible MARS Sharding + Cluster-on-Demand
VM3
VM4
VM1
VM1
VM2
ISCSI
or
MARS
remote
device
Hypervisor
Hypervisor
passive
(same DC)
LV5’
secondary
LV1
LV2
LV3
LV4
RAID
RAID
any hypervisor works in client and/or server role
and preferably locally at the same time

---
Flexible MARS Background Migration
VM3
VM4
VM1
VM1
VM2
ISCSI
or
MARS
remote
device
Hypervisor
Hypervisor
passive
LV3’
secondary
LV5’
secondary
LV3
primary
LV4
LV1
LV2
MARS replication
Any # replicas
k=1,2,3,… dynamically
creatable at any time
and anywhere
RAID
RAID
=> any hypervisor may be source or destination of some LV replicas at the same time

---
5 Hochleistungs-Rechenzentren auf 2 Kontinenten
MARS Current Status
- MARS source under GPL + docs:
  github.com/schoebel/mars
  mars-manual.pdf ~ 100 pages
- mars0.1stable productive since 02/2014
- Backbone of the 1&1 geo-redundancy feature
- MARS status January 2018:
  > 5800 servers (shared hosting)
  > 2x12 petabyte total
  ~ 10 billions of inodes in > 2500 xfs instances,
     biggest ~ 40 TB
  up to 10 LXC Containers on 1 Hypervisor
New internal Efficiency project
  - Concentrate more LXC containers on 1 hypervisor
  - New public branch mars0.1b with many new features, e.g. mass-scale clustering, socket bundling, remote device, etc
  - mars0.1b currently in ALPHA stage

---
MARS Future Plans
TBD
Separate implementation
or libvirt / Openstack /
Kubernetes plugins … ?
Automatic
load balancing
WIP tetris.sh +
1&1 clustermanager
cm3 and/or systemd
and/or libvirt plugin …?
Virtual LVM-like
Storage + VM pools
Done
MARS instead
of DRBD
Physically
sharded pools
Collaboration sought
=> Opportunities for other OpenSource projects!

---
Appendix

---
Replication at Block Level vs FS Level
Userspace
Application Layer
Potential Cut Point A
for Distributed System
Apache, PHP,
Mail Queues, etc
~ 25 Operation Types
~ 100.000 Ops / s
Potential Cut Point B
for Distributed System
xfs, ext4, btrfs, zfs, …
vs nfs, Ceph, Swift, ...
Filesystem Layer
DSM = Distributed Shared Memory
=> Cache Coherence Problem!
Page Cache,
dentry Cache, ...
Caching Layer
1:100 reduction
2 Operation Types (r/w)
~ 1.000 Ops / s
Potential Cut Point C
for Distributed System
LVM,
DRBD / MARS
Block Layer
++ replication of VMs for free!
Hardware
Hardware-RAID,
BBU, ...
Kernelspace

---
Use Cases DRBD+proxy vs MARS Light
DRBD+proxy
(proprietary)
MARS Light
(GPL)
Application area:
Distances: any
Aynchronously
Buffering in RAM
Unreliable network leads
to frequent re-syncs
RAM buffer gets lost
at cost of actuality
Long inconsistencies
during re-sync
Under pressure: permanent inconsistency possible
High memory overhead
Difficult scaling to k>2 nodes
Application area:
Distances: any ( >>50 km )
Asynchronously
near-synchronous modes in preparation
Tolerates unreliable network
Anytime consistency
no re-sync
Under pressure: no inconsistency
possibly at cost of actuality
Needs >= 100GB in /mars/
for transaction logfiles
dedicated spindle(s) recommended
RAID with BBU recommended
Easy scaling to k>2 nodes

---
DRBD+proxy Architectural Challenge
DRBD Host A (primary)
Proxy A'
Proxy B'
(essentially unused)
DRBD Host B (secondary)
A != A' possible
data queue path (several GB buffered)
huge
RAM
buffer
completion path (commit messages)
bitmap A
bitmap B
#8
#8
sector
#8
#8
#8
#8
same sector #8 occurs n times in queue
n times
=> need log(n) bits for counter
=> but DRBD bitmap has only 1 bit/sector
=> workarounds exist, but complicated
     (e.g. additional dynamic memory)

---
MARS Data Flow Principle
Host A (primary)
Host A (primary)
Host B (secondary)
/dev/mars/mydata
Transaction Logger
Temporary
Memory Buffer
Logfile Replicator
Logfile Applicator
/mars/resource-mydata/log-00001-hostA
/dev/lv-x/mydata
/mars/resource-mydata/log-00001-hostA
/dev/lv-x/mydata
writeback in background
long-distance transfer
append

---
Framework Architecture for MARS + future projects
External Software, Cluster Managers, etc
Userspace Interface marsadm
Framework Application Layer
MARS Light, MARS Full, etc
MARS
Light
MARS
Full
...
future
Strategy
bricks
other future
Personalities
and their bricks
Framework Personalities
XIO = eXtended IO ≈ AIO
XIO
bricks
Generic Bricks
Generic Brick Layer
IOP = Instance Oriented Programming
+ AOP = Aspect Oriented Programming
Generic Objects
Generic Aspects
s